{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":21,"n_cols":8,"rows_kept":21,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","EPBX10A9W / EPSK06-10AV3"]
[]
[]
[]
[]
["","","","","","EPBX10AF9W / EPSK06ARV3","EPBX10AF9W / EPSK08ARV3","EPBX10AF9W / EPSK10ARV3"]
["Binnendeel","","","","","EPBX10AF9W","EPBX10AF9W","EPBX10AF9W"]
["Totale verwarmingscapaciteit","Nom.","","","kW","5.81 (1)","7.62 (1)","8.11 (1)"]
["Totale koelcapaciteit","Nom.","","","kW","6.00 (2), 6.37 (3)","6.89 (2), 6.37 (3)","7.84 (2), 6.37 (3)"]
["Opgenomen vermogen","Verwarmen","","Nom.","kW","1.12 (1)","1.52 (1)","1.64 (1)"]
["","Koelen","","Nom.","kW","1.55 (2), 1.13 (3)","1.85 (2), 1.13 (3)","2.17 (2), 1.13 (3)"]
["COP","","","","","5.19 (1)","5.01 (1)","4.94 (1)"]
["EER","","","","","3.87 (2), 5.63 (3)","3.73 (2), 5.63 (3)","3.62 (2), 5.63 (3)"]
["Verwarming","Wateruitlaat gematigd klimaat 55°C","Algemeen","SCOP","","3.91","3.97","4.02"]
["","","","Seizoensefficiëntieklasse verwarming","","A+++","A+++","A+++"]
["","Wateruitlaat gematigd klimaat 35°C","Algemeen","SCOP","","5.12","5.15","5.15"]
["","","","Seizoensefficiëntieklasse verwarming","","A+++","A+++","A+++"]
["Energie-efficiëntiebereik","","","","","Space Heating A+++ ~ D, Water Heating A+ ~ F","Space Heating A+++ ~ D, Water Heating A+ ~ F","Space Heating A+++ ~ D, Water Heating A+ ~ F"]
["Opmerkingen","","","","","(1) - Voorwaarde: Ta DB/NB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Voorwaarde: Ta DB/NB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Voorwaarde: Ta DB/NB 7°C/6°C - LWC 35°C (DT = 5°C)"]
["","","","","","(2) - Koelen: EW 12°C; LW 7°C; omgevingsomstandigheden: 35°CDB","(2) - Koelen: EW 12°C; LW 7°C; omgevingsomstandigheden: 35°CDB","(2) - Koelen: EW 12°C; LW 7°C; omgevingsomstandigheden: 35°CDB"]
["","","","","","(3) - Koelen: EW 23°C; LW 18°C; omgevingsomstandigheden: 35°CDB","(3) - Koelen: EW 23°C; LW 18°C; omgevingsomstandigheden: 35°CDB","(3) - Koelen: EW 23°C; LW 18°C; omgevingsomstandigheden: 35°CDB"]